LRSWL2/12V 2-in-1 12V Power Network Surge Protection Device

2in1 LRSWL2/12V 12V Power Network CCTV Surge Protection Devices

LRSWL2/12V DC 12V CCTV System RJ45 Connector Power Surge Protector

Features:

Current : max.10KA

Remote Controlled distance : No

Power Supply : DC12V

Wire Length : 25cm/ 9.8"

Connector: RJ45

Material	: Plastic + aluminum alloy

Easy to install, and can be used for protecting signals of the devices controlled by the low voltage; such as various data transmission circuit, monitoring control circuit, Instrument signal circuit, etc.

Avoid the devices from damages of the lightning overvoltage, electostatic discharge,or induced overvoltage.

Design with the signal ground connection terminal block wire to protect the your devices work well.

Packing List:

1 x Surge Protection Device